## Title Page
Aircraft Operations Guide to Safety
Supports DCMA Instruction 8210-1D and DCMA Manual 8210-2
Version 26.0
2026-01-07

## Introduction
Introduction
A. General Guidance: This guide is not a replacement for applicable instructions. It is established to support surveillance and inspection efforts. Always refer to the applicable contract, DCMA Instruction 8210-1, Service guidance (as defined by 8210-1), Procedures, and DCMA Manual 8210-2 for specific requirements and to verify references. Blue, italicized text is offered as additional guidance, instruction, or explanatory material. It may or may not be contractual.
B. Safety. Comprised of flight and ground safety. Specific operations include, but are not limited to: Aircraft Operations Safety Summit (AOSS), Aviation Safety Officer, Safety Management System (SMS) including mishap prevention, risk management, safety meetings/councils, safety literature, mishap reporting/notification, mishap response, toxicological testing, privileged safety information, FOD, hazard identification and reporting, BASH, MACA, safety audits, spot inspections, flight line safety, ARFF, fire response, waivers, severe weather, fuels storage/delivery/maintenance, fuel quality, facilities, hangar safety, aircraft paint facilities, HAZMAT, ammunition and explosives.
C. To assure standardization in identifying and documenting AOI findings, the following expectations are provided.
1. Auditors are expected to first determine whether or not the CMO and/or contractor are complying with the requirements referenced in the process description column. Auditors are then expected to assess the risk to operations. If non-compliance is noted and the CMO or contractor has:
- Not implementing an alternate process to mitigate that risk, or the alternate process implemented is not effective in mitigating that risk, then the finding shall be reported as an elevated risk and assigned a Yellow or Red risk rating.
- If the CMO or contractor has implemented an effective alternate process that mitigates the risk, the finding shall be identified as a discrepancy with a Green risk rating assigned.
2. If the CMO or contractor has implemented an effective alternate process, the Auditor shall then determine if a waiver is required and has been submitted in accordance with DCMA Manual 8210-2, or the applicable version of DCMA Instruction 8210-1. That determination shall be documented within the noncompliance write-up.
D. The following provides guidance on assessing Strengths, Observations, and Discrepancies as they relate to AOI reporting/corrective action:
1. STRENGTH (S) – A superior program, procedure, or technique that significantly contributes to mitigating risk.
2. OBSERVATION (O) – Discovery by an AOI team of an area or item, attributed to the contractor or Government, that is not contractually required (in the case of the contractor) or explicitly regulated by applicable Instructions (in the case of the Government). However, the area or item exhibits elevated risk (Yellow or Red Risk Rating) or presents an opportunity for improvement (Green Risk Rating).
Instructions for Observation: AOI Team members may mention observations during the daily hot wash. However, Observation write-ups shall not be included in the AOI out-brief if the contractor will be attending. In this case, Observations shall be briefed separately to the CMO leadership. Observation write-ups will be included in the detailed AOI report. CMOs shall not communicate to the contractor, either verbally or in writing, a requirement to correct an AOI Observation unless a link to contractual requirements is established.
3. DISCREPANCY (D) – Discovery by an AOI team of an area or item, attributed to the contractor or Government, that is contractually required (in the case of the contractor) or explicitly regulated by applicable Instructions (in the case of the Government) but is not in compliance.
Instructions for Discrepancy: Corrective action for discrepancies is required regardless of risk.
E. The following 8210-1D Ground sub-element areas are evaluated (fully or partially) by Contract Safety and included in the Safety section of the AOI report (Note: depending on the circumstances, Ground may provide Contract Safety input on any of these areas or Contract Safety may provide input to Ground):
5.10. Aircraft Servicing
5.17. Aircraft Related Explosives and Ordnance.
5.18. Hangaring of Aircraft.
F. The following are special interest areas identified by DCMA AO. Consider these during your assessment of operations and interviews with members of the CMO/APT, as they apply to your functional area. Provide feedback to the AOI Lead during the daily team recap (team only meeting) and during the AOI reporting writing phase of the AOI.
· Talk to APT about maintaining vigilance and targeting high-risk areas in their surveillance plans -- (All AOI team members discuss with your counterparts)
· Ensure outside pressure is not influencing safe flight & ground operations -- (All AOI team members discuss with your counterparts to determine whether this is an issue)
· Are CMO commanders attending quarterly consolidated safety council meetings -- (AOI Lead; already included as part of the Command Admin AOI Guide under CF, "Site Operations")
· Discuss with CMO commanders and CFO the importance of identifying high-risk aviators and if/when these individuals should be removed from the flight schedule -- (AOI Lead discuss with CMO commander and CFO)
G. In accordance with DoD Instruction 6055.01, "DoD Safety and Occupational Health (SOH) Program," and the DCMA SOH Instruction, commanders are responsible for eliminating accidents, deaths, and occupational illnesses by applying risk management strategies with the ultimate goal of zero accidents, zero occupational illnesses, and total compliance with DoD SOH standards and policies. Qualified DCMA SOH personnel are required to evaluate program effectiveness in meeting Agency goals and objectives. However, personnel safety is everyone's responsibility, and AOI evaluators are no exception. If an AOI evaluator identifies a personnel safety hazard during the course of their evaluation, they must notify the AOI Lead, who in turn will communicate the concern with the CMO commander and SOH to determine whether online Hazard Reporting is warranted. If yes, select link to DCMA SOH. Any SOH findings by the AOI team will generally not affect AOI assessments since the principal focus of the AOI is aircraft mishap prevention/asset protection and minimizing risk of financial loss to the Government in support of FAR Subpart 42.302 (a) (56) Maintain surveillance of flight operations.
File Online Hazard Report
H. See last tab of this workbook for summary of changes.

## Table of Contents
Table of Contents
SA | Procedures
SB | Ground Safety
SC | Aircraft Rescue & Fire Fighting and Facility Fire Response
SD | Mishap Response Plan (Flight)
SD | Mishap Response Plan (CS)
SE | Severe Weather Plan
SF | Aircraft Fuel Process
SG | Facilities
SH | Supporting Programs
CA | Designations & Appointments
CB | CMO CC Responsibilities
CE | Procedures Approval Process
CF | Surveillance
Summary of Changes

## SA-Procedures
SA - Procedures
Process Questions & Clarification (in blue italics) Questions in this section are specific to safety related areas and evaluation as each element will evaluate Procedures. | 8210-1D | Other | Comments, Questions, Findings
Have contractor's developed written procedures to mitigate the risk of aircraft loss or damage during contracted operations? Validated by inspecting all sub-elements and associated procedures. Deficiencies related to procedures such as lack of clarity, completeness, accuracy, etc. in any safety related sub-element shall be documented in SA – Ground Procedures section of the AOI report. Also, provide input to the Team Lead & Ground Leads on adequacy of Procedures for possible inclusion in those areas (GA and / or CB). While most of the Procedures requirements (8210-1D section 3) will be accomplished by the Team Lead, input from all elements is required. | 3.1
Are active waivers and the Contractor's Infrastructure Evaluation included as attachments to the Procedures? Only address whether or not waivers and the Infrastructure Evaluation are part of the procedures. If there are issues with the content of the evaluation, address that in the appropriate area (SC/SG). | 2.1 & 7.2.3
If any definitions are included in the Procedures, have they been changed from the language of this Instruction | Appendix 3A
Has the prime contractor reviewed and signed all subcontractor's Procedures? Is the prime performing adequate oversight of the sub? | 3.2.1
Do Procedures comply with Service Guidance or other references/standards included in the contract or listed in paragraph G.1.65? For all aircraft operations, contractors are bound only by that Service Guidance that is applicable to the aircraft operations being performed under contract. | 3.7.2
Does the Contractor perform flight and ground operations not specifically mentioned in 8210-1 (operations that increase risk to aircraft)? All operations (excluding industrial or quality procedures) that introduce increased risk to the aircraft must be addressed in the Procedures (e.g., de-icing). The addition of a new procedure not identified within this Instruction requires concurrence by the GFR and contractor; if either party disagrees, exercise the process described in 8210-1D, paragraph 3.3. | 3.7.5 & 7.10
Are the Procedures separate and distinct from industrial or quality procedures | 3.8
Do Procedures addressed configuration control for referenced documents | 3.8
Content; are Procedures complete and address required items? Contractor’s Procedures must include all items from 8210-1D that establish a requirement for procedures, item-by-item, as applicable to the contract. Appendix 3A, Procedures Outline, is provided to the 3rd bullet level paragraph, however, lower-tier sub-paragraphs must be addressed as applicable. | 3.8.1 & App 3A
Do Procedures provide specific guidance describing activities and requirements of 8210-1D and contractual provisions pertaining to operations applicable to all aircraft for each specific contractor operation | 3.8.1.1
Do Procedures describe in detail how the contractor ensures that individuals perform only duties they are qualified and authorized to perform | 3.8.1.2
Do Procedures adequately explain all aspects of a given operation to include the purpose, scope, and steps to accomplish the task | 3.8.1.3
Do Procedures identify the office/title of individual or organization responsible | 3.8.1.4
Do Procedures include requirements to verify the successful completion of the procedure, when appropriate | 3.8.1.5
Format; are the Procedures formatted IAW required guidelines? Contractors must use one of the approaches listed in 3.8.2.1. or 3.8.2.2. for Procedures. Items listed in Appendix 3A that are not applicable to a specific contract/location may be place marked as N/A, with explanation if needed. | 3.8.2
At least every 12 months, does the contractor review their Procedures to: - Ensure validity of referenced documents - Verify safety and effectiveness of each procedure - Assess changing Service Guidance and its effect - Submit recommend changes to the GFR for approval | 3.11 3.11.1 3.11.2 3.11.3 3.11.4
When the contractor is notified of an observed non-compliance (either through a CAR or other written method), do they respond in a timely manner and provide root cause/corrective actions | 3.13

## SB-Ground Safety
SB - Ground Safety
Process Questions & Clarification (in blue italics) Coordinate with Flight Ops Lead on applicable areas of this element | 8210-1D | Other | Comments, Questions, Findings
Safety Management System (SMS) Program: Coordinate with the Flight Ops Element Lead for all areas of SMS. | 6.1.2
Does the contract have a documented Aviation SMS
Is it appropriate for the size and complexity of operations
Does it address the four pillars / components of and SMS
Safety Policy | 6.2
Do the contractor's procedures address the overall SMS, including roles and responsibilities | 6.2.1
Has the contractor designated an Aviation Safety Official (ASO) and specific responsibilities of the position. Does the ASO have unfettered access to senior contractor management (should)? | 6.2.2
Has the contractor published a formal management aviation safety philosophy | 6.2.3
Safety Risk Management | 6.3
Has the contractor developed and documented a risk management program and does it address assessment, mitigation, and acceptance processes | 6.3.1
Does the contractor provide awareness or training on Human Factors to ground operations personnel | 6.3.1.2
Are hazard identification and elimination procedures established | 6.3.1.3
- Do they allow personnel to identify potential hazards under a non-attribution policy
- Do they provide an avenue to communicate concerns to the safety department for validation and corrective action | 6.3.1.3
- Do they require documented resolution of the hazard
Aviation Safety Council Meeting: | 6.3.2
- Are meetings held at least quarterly
- Are minutes documented and provided to GFR and appropriate contractor offices and maintained for at least one year
- Does the ASC accept action items, provide safety expertise, and act as a focal point for safety | 6.3.2.1
- Does the ASC address safety incidents (and mishaps) for trend analysis and make recommendations | 6.3.2.2
- Are all required topics addressed (Ground related) | 6.3.2.3
- Is participation consistent and with required/recommended personnel | 6.3.2.4 & subs
Safety Assurance | 6.4
Internal Procedural Audits / Assessments: | 6.4.1
Are comprehensive assessments performed at least semiannually to determine the appropriateness of, and compliance with, the Procedures. A program of regular audit/surveillance that generates data for reporting, analysis, and corrective action (as required) to address noncompliance may be used to meet this requirement. GFR access to this data fulfills the requirement of a semiannual report.
Is a consolidated summary of findings & corrective actions provided to GFR
Are appropriate references (e.g., Service regulations, AOI Guides, internally developed checklists) used as guidelines
Does the contractor incorporate other Service or industry safety assurance tools and programs into their SMS (e.g., safety climate assessment surveys, Human Factors Analysis Classification System boards for crewmembers, safety culture workshops, Service / FAA Aviation Safety Action Program reporting tools, or NASA / FAA Aviation Safety Reporting System and military flight operations quality assurance programs). This is "encouraged" and not a requirement. Coordinate with Flight Element Lead on this topic. | 6.4.5
Safety Promotion | 6.5
Does the contractor ensure that employees have a solid foundation regarding their safety responsibilities, the organization's safety policies and expectations, reporting procedures, and a familiarity with risk controls through communication and training
Does the contractor make safety publications and articles available (encouraged to, not mandatory) | 6.5.2
Has the contractor developed a local safety awards program to recognize the safety contributions of outstanding individuals, teams or departments (encouraged to, not mandatory) | 6.5.3

## SC-ARFF & Facility Fire Resp
SC - ARFF and Facility Fire Response
Process Questions & Clarification (in blue italics) | 8210-1D | NAS 3306 Rev 4 | Comments, Questions, Findings
Exception for "Short-Duration / Limited-Scope Operations": | 9.7
Do contractual operations fall under short-duration / limited-scope operations exemption? If so, the remainder of this section is Not Applicable.
Contractor’s Infrastructure Evaluation: ARFF and Aircraft Facility Fire Response | 7.2 | 1.6
Has the contractor completed the ARFF and aircraft facility fire response portion of their self-evaluation and does it cover all required topics
Does it state whether or not requirements are met and identify conditions failing to meet requirements (if any)? | 7.2.1
Has the contractor provided corrective action plans, proposed alternative compliance strategies, and/or mitigation plans if/where needed | 7.2.2
Is the report current, to include any required updates, and has it been provided to the GFR | 7.2.3
For operations on U.S. Service controlled BPCS, has the contractor completed the statement of capabilities addressing the required areas and provided it to the GFR. NOTE Exception for CLS operations | 7.2.4
Are alternative compliance strategies and/or mitigation plans (if any) accepted/rejected in writing AND by the appropriate level (e.g. GFR, Waiver Authority, Program Office, as applicable) | 10.18.1 - 10.18.4
ARFF and Aircraft Facility Fire Response at U.S. Service-Controlled Base, Post, Camp, or Station Locations | 7.3
Are all conditions met (7.3.1 - 7.3.3)? If so, the remainder of this section is Not Applicable. If all conditions are not met, continue with guide, specifically see para 7.5.3.2 and subs. | 7.3.1 - 7.3.3
Documentation: | 7.4 | Multiple
Does the contractor have all the required risk analysis, technical / compliance documentation, and plans / procedures required by NAS 3306? See NAS 3306 Job Aid
Waivers: | Section 2 & 7.5.1 | 1.5.3
Are any waivers in place for ARFF or Facility Fire Response? If applicable, are they appropriate for the circumstances and cover all non-compliant issues?
Are existing waivers current and are circumstances of the waiver still accurate
Are all conditions / restrictions / requirements of the waiver met and are they audited by the APT to include any required mitigation actions
Are approved waivers attached to the contractor's Procedures and has the contractor and GFR (APT) reviewed all existing waivers at least annually
Contractor Fire Prevention / ARFF Focal Point: | 7.5.2
Has the contractor identified a focal point for ARFF, fire protection, and fire prevention for each site
Does the contractor's identified focal point coordinate ARFF, fire protection, and facility fire response issues and procedures
Use of Outside Agencies for ARFF and / or Facility Fire Response: | 7.5.3
Does the contractor ensure all contractual requirements are met
Does the contractor provide aircraft and facility-specific training to the responding fire departments
Does the contractor have specific procedures in place detailing how contractual ARFF and facility fire response requirement are met and include a method for verification by the Government and notification of the GFR when shortfalls exist | 7.5.3.1
ARFF and / or Facility Fire Response Provided by a U.S. Service When Para 7.3 Conditions Are Not Applicable or Not Met | 7.5.3.2 & subs
Does the contractor ensure at least the minimum ARFF and / or facility fire response services are provided and meet applicable requirements? A U.S. Service may provide all or part of ARFF and / or facility fire response. The portions provided by a U.S. Service may operate IAW Service Guidance. Any portion of ARFF and / or facility fire response not provided by a U.S. Service must meet NAS 3306 requirements.
Has the contractor ensured that the total agent, vehicle, and manning requirements are met | 7.5.3.2.3
Manned Aircraft and Group 4/5 UA: For Group 4 / 5 UA see section 5.8.2 and the applicable para in section 5 | 7.5 & subs | Section 5
Does contractor ensure minimum required assets are available and serviceable | 7.5.1 | 5.2 & subs, & Tbl 5.1 w/notes
- ARFF vehicles
- Certified Personnel
- Water for foam production
- Complimentary agent
- Foam concentrate
- Replenishment water
Is fuel load of aircraft administratively limited, if so: | 7.5.1 | Tbl 5.1 w/Note 3
- Has the GFR approved the limit
- Does the contractor adhere to the limit
- Does the contractor increase ARFF category as required for times when administrative limits must be exceeded
If the contractor uses more than minimum number of ARFF vehicles to meet total agent quantities, do they add a driver for each additional vehicle | 7.5.1 | Tbl 5.1 w/note 4
If / when ARFF vehicles require more than one driver / operator to fully function, is an additional firefighter added | 7.5.1 | Tbl 5.1 w/note 5
Does AFFF concentrate meet Mil-F-24385 or current military foam standard | 7.5.1 | Tbl 5.1 w/note 6
Is full complement of ARFF available when required | 7.5.1 | 5.3.1 & subs
Are response time limits met for all various time periods (full complement, reduced coverage, structural, etc.) | 7.5.1 | 5.3.2 & subs, 5.3.3, 5.3.6.2, & 5.7.1.2 & subs
Have hazardous operations been defined and agreed upon by GFR (APT) and are these included in the contractor's Procedures | 7.5.1 | 5.3.1.4
Is a minimum of one appropriately staffed ARFF vehicle provided for standby coverage during haz ops | 7.5.1 | 5.3.3
- Has risk analysis been completed and provided to the GFR to determine size / number of standby vehicles and number personnel
Does ARFF operational and pre-emergency planning exist | 7.5.1 | 5.3.4
Does contractor inform GFR when/if there is a change in ARFF capability and are operations curtailed to corresponding level of ARFF coverage? Is the process codified in the contractor's Procedures? | 7.5.1 | 5.3.5
Reduced ARFF coverage | 7.5.1 | 5.3.6 & subs
Are condition met for allowing reduced coverage
- Is there at least one ARFF vehicle and an appropriate number of trained personnel available (minimum 2 firefighters)
- Has risk analysis been completed (by a competent person) to establish the appropriate reduced ARFF capability (e.g., size / number of vehicles, number of firefighters) required of ongoing operations and conditions |  | 5.3.6.1
- Has it been provided to the GFR |  | 5.3.6.1.3
Suspension of ARFF coverage | 7.5.1 | 5.3.7 & subs
- Are all required conditions met or an approved waiver in place
ARFF Vehicles: | 7.5.1 | 5.4 & subs
Are vehicles specifically designed for ARFF use (meet NFPA 414) | 7.5.1 | 5.4.1
Has a competent person developed & implemented a schedule for operational checks, inspection, diagnostic & maintenance of ARFF vehicles | 7.5.1 | 5.4.2 & subs
- Does the schedule utilize the correct references (e.g., OEM, NFPA 1911, NFPA 412, NFPA 414, local experience/conditions)
- Are daily operational and visual checks (weekly if approved by GFR) accomplished and do they address required areas
- Is a complete inspection and test/diagnostic of ARFF vehicle (firefighting systems and automotive performance capabilities) conducted as recommended by the OEM but at least annually (once every 12 CCM)
- Are inspections, maintenance, and testing performed by a qualified person (as defined by NFPA 1911 or equivalent)
- Are ARFF vehicle records available and maintained as required | 7.5.1 | 5.4.2.3
Are appropriate tools and equipment available | 7.5.1 | 5.4.3 & subs
- Do ARFF vehicles have radios with correct capabilities | 7.5.1 | 5.4.3.1
- Has a competent person developed a comprehensive list of required equipment to establish adequate rescue and firefighting capabilities? Is it documented and accepted by the GFR? | 7.5.1 | 5.4.3.2 & subs
Personal Protective Equipment (PPE): | 7.5.1 | 5.5 & subs
Is appropriate PPE (e.g., protective clothing, equipment, SCBA) provided and maintained
- Has a competent person made a determination, supported by risk analysis, for appropriate PPE | 7.5.1 | 5.5.1.1
- Does PPE meet requirements | 7.5.1 | 5.5.1.2
- Has a competent person developed and implement a care and maintenance program and are records maintained for at least 2 years | 7.5.1 | 5.5.2
Training and Qualification: | 7.5.1 | 5.6. & subs
Do all firefighters meet the qualification requirements outlined in NFPA 1003 or an equivalent standard | 7.5.1 | 5.6.1
Has a competent person established firefighter medical / physical requirements | 7.5.1 | 5.6.2
Are individual training records maintained, current, and accurate | 7.5.1 | 5.6.3.2
Is a comprehensive training program established, documented & approved by the ARFF chief? Does it cover at least the minimum requirements? | 7.5.1 | 5.6.3.1 - 5.6.3.3 & subs
Is an ARFF response incorporated into the contractor’s exercise of the Pre-Mishap Plan? NOTE: DCMA personnel should never organize, control or run an exercise or response. It is the contractor’s responsibility to perform exercises and to prove compliance. The contractor should coordinate with the APT to participate for teaming and surveillance purposes. | 7.5.1 | 5.6.3.3
Aircraft Facility Fire Response Capability | 7.5.1 | 5.7 & subs
Are adequate fire suppression / response plans documented and accepted by the GFR? ARFF force may be utilized for initial structural response if they are appropriately trained and equipped.
- Do the plans include all required elements
- Are structural response times met
- Do firefighters meet the qualification requirements
Unmanned Aircraft (UA) Group 1-3: | 7.5.1 | 5.8.1 & subs
Has a competent person established feasible fire / mishap response plans, based on risk analysis, appropriate for the vehicles / systems and operations being conducted
Does it address applicable topics (e.g., equipment, staffing, response times, vehicle requirements, PPE, training)
Is hands-on (live fire where possible) training provided with specific extinguishers / equipment to be used at least once every twelve CCM
Is the plan approved by the GFR/GGFR
OCONUS FMS Aircraft; Contractor Responsible for ARFF and/or Facility Fire Response: Note, the contractor may only provide portions of this or one of the elements. Only the portions / elements the contractor is responsible to provide would fall under this guidance. See para 7.7.1.2 and 9.4.2 for other situations. | 7.7.1 & 9.4.2
Does the contractor use host nation standards, NAS 3306, or some other contractual requirement | 7.7.1.1
Has the contractor provided a statement of capabilities to the GFR and is it attached to the Procedures
Does the contractor have procedures in place based on the guidance used (e.g., NAS 3306, host nation standards) and / or statement of capabilities
OCONUS FMS Aircraft; All or part of ARFF and/or Facility Fire Response provided by the host nation: Note, the host nation may only provide portions of this or one of the elements. Only the portions / elements the host nation is responsible to provide would fall under this guidance. The portion / elements the contractor is responsible for providing would be addressed under requirements in 7.7.1.1. | 7.7.1.2 & 9.4.2
Do procedures state what services are provided by the host nation and how the contractor obtains those services | 9.4.2
OCONUS U.S. Government Aircraft; Contractor Responsible for ARFF and/or Facility Fire Response: | 7.7.2
What standard is used, NAS 3306 or host nation standards | 7.7.2.1
If NAS 3306, are all requirements met (all applicable elements of this guide) | 7.7.2.1
If host nation standards are used | 7.7.2.1
- Have shortfalls been identified and corrected | 7.7.2.1
- If not, has a waiver been approved | 7.7.2.1
- Does the contractor have procedures in place based on the guidance used (NAS 3306, host nation standards) | 7.7.2.1
OCONUS U.S. Government Aircraft; All or part of ARFF and/or Facility Fire Response provided by the host nation: Note, the host nation may only provide portions of this or one of the elements. Only the portions / elements the host nation is responsible to provide would fall under this guidance. The portion / elements the contractor is responsible for providing would be addressed under requirements in 7.7.2.1. | 7.7.2.2
Has the contractor completed their self-evaluation and does it identify shortfalls (if any) | 7.7.2.2
Has the GFR coordinated with the SWA for guidance and direction for all identified shortfalls | 7.7.2.2
Do procedures state what services are provided by the host nation and how the contractor obtains those services | 7.7.2.2

## SD-Mishap Response (Flight)
SD - Mishap Response / Notification (Flight)
Process Questions & Clarification (in blue italics) Coordinate with Safety Lead on this entire element | 8210-1D | 8210-2 | Comments, Questions, Findings
Aircraft Damage Reporting
Is the contractor tracking all damage to aircraft in the open or covered aircraft and notifying the GFR within 7 days of damage greater than or equal to $5000 to less than $25,000? Is contractor using over & above rate in the contract for initial labor cost plus the cost of parts and materials? | 6.4.2
Aircraft Mishap Procedures
Is the contractor notifying the GFR of any incident involving in the open meeting injury or damage criteria (Class A thru D) per DODI 6055.07? If deemed Class A-D mishap, is the mishap response plan initiated? See also DCMA Accident and classification Guide | 6.4.3
Is the contractor providing the GFR a narrative of the mishap including cost estimates to repair (over and above labor rate + parts and materials)? | 6.4.3.1
If directed by the Service, has the contractor provided the GFR a detailed narrative of the mishap, findings, causes, costs, recommendations, and corrective actions to mitigate risk of recurrence (i.e., root cause / corrective actions)? | 6.4.3.2
Is the contractor notifying the GFR for COCO mishaps if flying PAO or CAO under contract | 6.4.3.3
Mishap Response Plan (Government). CSMs do not need to address questions associated with Gov't MRP. Flight Ops & C&A will assess. |  | 8.15
Does Govt have a response plan that all unit personnel can execute |  | 8.15.2
Does plan ensure contractors execute their plans |  | 8.15.1 & 8.15.2
Does plan ensure preservation of evidence |  | 8.15.1 & 8.15.2
Does plan ensure accomplishment of toxicological testing Govt and Contractor | 6.4.4.8.1 | 8.16
Does plan ensure appropriate notifications to CSSO, CMO and AO |  | 8.17, 8.17.1, 8.17.2, & 8.17.4
Does plan address public affairs procedures per TSA |  | 8.15.2
Does APT exercise Govt Mishap Plan every 6 months |  | 8.15.4
Mishap Response Plan (Contractor)
Does contractor have a relevant response plan | 6.4.4 | 8.15.1
Does the plan:
- Establish policies, responsibilities & actions to take in event of a mishap | 6.4.4
- Contain immediate action checklist | 6.4.4.1
- Contain a notification plan with a current roster of contractor and Government personnel to include a non-duty contact process? Personal or home numbers do not have to be provided, but contractor must define process for non-duty notification. | 6.4.4.2
- Contain procedures for contractor and subcontractor cooperation with government in mishap investigations | 6.4.4.4
- Contain procedures that note medical/toxicological test results must be provided to government upon request | 6.4.4.4
- Clearly define differences between Government Legal and Safety investigations | 6.4.4.4
- Contain procedures for search and rescue | 6.4.4.5
- Contain procedures for site security and public affairs | 6.4.4.6
- Contain procedures for the collection and preservation of evidence to include | 6.4.4.7
- Training records | 6.4.4.7.1
- Aircraft log books, maintenance and servicing records. Includes UAS ground control station records. | 6..4.4.7.2
- Mishap aircraft's fluid servicing equipment and contents | 6.4.4.7.3
- Fluid samples from mishap aircraft | 6.4.4.7.4
Is the mishap response plan exercised annually at a minimum? Usually documented with some sort of after action review. For those elements related to the plan that are not practical to exercise, a validation by tabletop discussions or some other method to ensure all elements of the mishap response plan is executable. | 6.4.4
Toxicological Testing
Are Procedures for toxicological testing in place? | 6.4.4.8.1
Are thresholds for toxicological testing outlined in plan? Class A & B threshold & Army AR 385-10 thresholds (Class C). For Government crews IAW Service Guidance. | 6.4.4.8.1.1
Are crewmembers and any other individuals identified by GFR as involved required to be tested | 6.4.4.8.1.1
Are specimens collected per AFMES guide and sent to AFMES for testing | 6.4.4.8.1.2
Are personnel that refuse timely toxicological testing following a mishap appropriately dealt with? Crewmembers and non-crewmembers permanently removed from approved crew lists. Ground personnel barred from working on Govt aircraft for 3 years. | 6.4.4.8.1.3
Medical Procedures & Examinations
Procedures for location of medical facility, transportation method and escort requirements | 6.4.4.8
Do procedures require a medical examination for crewmembers whose actions or inactions may have been a factor in mishap sequence? As determined by CRO or GFR. | 6.4.4.8.2
Are personnel involved in a physiological incident required to be examined by a military flight surgeon or an FAA approved medical examiner or host nation equivalent? See also current military/Service guidance on physiological event, messages, etc. | 6.4.4.8.3

## SD-Contractor's MRP (CS)
SD - Contractor's Mishap Response Plan
Process Questions & Clarification (in blue italics) Coordinate with Flight Ops Lead on this entire element | 8210-1D | Other | Comments, Questions, Findings
Mishap Response Plan: | 6.4.4
Does contractor have a relevant mishap response plan
If on a military BPCS, has the contractor tailored their process to use and complement the existing MRPs
Does the plan (and all copies) contain current information
Does the plan:
- Establish policies, responsibilities and actions to take in event of an overdue aircraft and / or an aircraft mishap
- Contain immediate actions to ensure command, control and coordination of the rescue / recovery effort | 6.4.4.1
- Contain a notification plan with a roster of contractor and Government personnel to be notified in the event of an aircraft mishap (to include a method to make notifications during non-duty hours) | 6.4.4.2
- Establish a process for securing the aircraft (e.g., security, safeing, preserving evidence, movement) for mishaps with the potential to be Class C and above | 6.4.4.3
- Establish a process for impounding the mishap aircraft? When the aircraft is impounded by PCO/ACO direction in response to a mishap, the GFR, in coordination with the CSSO, is the release authority for all impoundments of mishap aircraft. If a Service mishap board is convened, the board president is the release authority.
- Contain procedures for contractor and subcontractor cooperation and participation in mishap investigations conducted by the Govt | 6.4.4.4
- Clearly define the differences between a Government legal investigation (used to establish facts and satisfy claims/litigation) and a Government safety investigation (used for mishap prevention purposes)
- Do procedures clearly state the contractual obligation of contractor personnel to provide information and interviews to the Government safety investigation immediately upon request
- Do procedures require the results of medical and toxicological testing be provided to the Government safety investigation board immediately upon request and for the toxicological testing results to be provided to the Government legal investigation board immediately upon request
- Contain procedures for:
- Search and rescue | 6.4.4.5
- Site security and public affairs | 6.4.4.6
- Collection and preservation of evidence to include: | 6.4.4.7
- Training records | 6.4.4.7.1
- Aircraft log books, data records, maintenance and servicing records (includes evidence from ground control stations) | 6.4.4.7.2
- Mishap aircraft’s fluid servicing equipment and contents | 6.4.4.7.3
- Fluid samples from the mishap aircraft | 6.4.4.7.4
- Contain medical procedures that define the location of the medical facility, transportation method and escort requirements and address: | 6.4.4.8
- Toxicological testing requirements See Flight Guide for details | 6.4.4.8.1 & subs
- Medical examinations See Flight Guide for details | 6.4.4.8.2
- Physiological events See Flight Guide for details | 6.4.4.8.3
Pre-Mishap Plan Annual Exercise (Contractor): | 6.4.4
Does contractor exercise the full mishap response plan at least annually? DCMA does NOT conduct or run exercises. It is a contractor responsibility to exercise their MRP and prove compliance. If the contractor has not completed an exercise in the last year, or if there is not enough documentation to evaluate their exercise effectiveness, then it may be prudent to request (not demand) the contractor conduct an exercise of their MRP. Ensure close coordination with the AOI Team Lead, Flight Ops Lead, local APT, and the contractor. Requesting extra work (over contractual requirements) could lead to a constructive change. Extreme caution shall be taken when performing exercises. Safety is paramount. DCMA personnel will NOT initiate or control a contractor MRP exercise.
Are all elements of the MRP exercised? Elements of the MRP deemed not related to the exercise scenario, or not practical (e.g., taking of toxicological samples, impounding of FBO equipment, search and rescue operations, taking fluid samples from the aircraft / AGSE), will be validated via tabletop discussions, validation of concept, or some other method to ensure that all elements of the MRP are executable.
Are exercises documented
Are locations and scenarios of exercises changed to account for coverage of the entire facility? While there is not a requirement to change scenarios per se, this practice would benefit the contractor in a more thorough evaluation of their MRP. Use of the same scenario over and over may result in complacency and may result in an observation for improvement.

## SE-Severe WX Plan
SE - Severe Weather Plan
Process Questions & Clarification (in blue italics) | 8210-1D | NAS 3306 | Comments, Questions, Findings
Do Procedures: | 6.3.3
Define conditions that constitute severe weather relevant for location | 6.3.3.1
Address provisions for obtaining forecasts / alerts in sufficient detail to address defined severe weather conditions? Recommend validating that equipment / method used to obtain information is effective and reliable. | 6.3.3.2
Address provisions for disseminating severe weather information / warnings? Recommend validating that equipment / method used to disseminate information is effective and reliable. | 6.3.3.3
- Is an off duty hours notification process in place
Contain a response plan that details specific responsibilities for hangaring, mooring, or evacuation of aircraft (as appropriate)? Does the plan include criteria for termination of operations (e.g., fueling, LOX / GOX servicing, handling of AE items), as applicable? See applicable Service Guidance for requirements. | 6.3.3.4
Require notification of GFR for any deviations from approved Procedures | 6.3.3.5
Placing Fueled Aircraft in Hangars Not Designed / Protected for Fueled Aircraft During Severe Weather |  | 6.5.7
Are procedures in place and approved by the GFR
Do procedures address required limitations (e.g., no maintenance, no spark-producing work, deactivation of non-compliant electrical and HVAC)
Are supporting fire departments (structural and ARFF) and GFR notified
Are aircraft removed from the hangar as soon as practical once threat of severe weather has passed

## SF-Aircraft Fuel Process
SF - Aircraft Fuel Process
Process Questions & Clarification (in blue italics) | 8210-1D | Other | Comments, Questions, Findings
General Information: | 5.10 & 7.8
Does the contract or contractor’s procedures establish standards for fuel storage / dispensing / quality (e.g., MIL-STD-1518, MIL-STD-1548, ATA 103, Service Guidance, NFPA 407)? In rare cases, the contract may establish aircraft fuel requirements that are not conducive to the actual situation (e.g., MIL-STD-1518 on contract but commercial FBO provides fuel and works to ATA103). If there is a conflict, coordinate with the GFR, ACO, and contractor to resolve the conflict.
Has contractor established procedures commensurate with functions performed at the specific location? Typically, Ground will observe / evaluate actual refuel / defuel of the aircraft. See Ground Guide, GE, Aircraft Servicing. Coordinate with Ground Leads on these operations.
Who stores and / or services aircraft fuel (e.g., contractor, FBO, U.S.G., host nation)? The response to this question will determine which portions of this guide will be applicable. Use the guide as applicable to the specific circumstances of the contract / contractors procedures. | 7.8.1
Fuel Acquired From an FBO with a Current Into-Plane Contract | 7.8.2.1
Do contractor's procedures state the FBO is a current Into-plane provider and has the contractor validated the FBO's continued participation as an "Into-plane" fuel provider at least annually
If FBO provides services outside the scope of the Into-plane contract (e.g., defuel operations, use of different equipment), has the contractor established procedures for the additional services? An Into-plane FBO is already overseen by the U.S.G. Additional oversight is not necessary as long as the FBO is providing the contractor the same services with the same equipment. The contractor must know the scope of operations the FBO performs under the Into-plane contract and develop procedures for all fuel related activities that fall outside that scope and thereby, outside other U.S.G oversight.
Has the contractor established procedures commensurate with fuel related functions performed outside of the FBO services | 7.8 & 7.8.5
Fuel Acquired From an FBO that is Not a Current Into-Plane Provider | 7.8.2.2
Has contractor established a process to validate the fuel quality (to include what standard is being applied)
Has contractor established procedures commensurate with services provided by the FBO, to include serviceability of fuel servicing equipment
Has the contractor established procedures commensurate with fuel related functions performed outside of the FBO services | 7.8 & 7.8.5
Fuel Acquired from a U.S. Service or Host Nation
Do contractor's procedures state fuel is provided and what fuel related services are perform by the U.S. Service or host nation (e.g., refuel / defuel, fuel storage) | 7.8.3.1
Has the contractor established procedures commensurate with fuel related functions performed outside those provided by a U.S. Service or host nation | 7.8.3.2 & 7.8.5
Fuel Acquired from Other Sources | 7.8.4
Do contractor's procedures address sourcing, storage, fuel equipment, and fuel quality standards
Contractor Controlled / Managed Fuel Operations |  | NFPA 407, ATA103, MIL-STD-1518, ATP 4-43, TO 42B-1-1, NAVAIR 00-80T-109
Refuel / Defuel equipment - Do contractor procedures address maintenance and servicing of equipment? Typically, Ground will observe / evaluate actual refuel / defuel of the aircraft. See Ground Guide, GE, Aircraft Servicing. Coordinate with Ground Leads on these operations. | 7.8.5.1
Fuel Storage - Do contractor procedures address the specifics of their operations | 7.8.5.2
Fuel Quality | 7.8.5.3
Do contractor procedures clearly establish the quality standard(s) used and the source of guidance
Do contractor procedures address testing requirements and the actions required when testing indicates bad fuel or fuel quality issues
Use the following sections, as applicable, based on site and contract specific circumstances. Answers / results from the previous items in this section will determine how extensively the remaining items will be applied. Typically, the following items would be applied to any function / process the contractor controls or manages. This is not an all-inclusive list. If circumstances warrant a more intensive / detailed review, see applicable guidance for a more complete listing of requirements.
Fuel Storage: | 7.8, 7.8.2.1, 7.8.2.2, 7.8.3.2, 7.8.4 & 7.8.5.2 | NFPA 407, ATA103, MIL-STD-1518, MIL-STD-1548, ATP 4-43, TO 42B-1-1, NAVAIR 00-80T-109
Are fuel storage tanks serviceable, clean, & properly maintained
Are filters the correct type and maintained properly
Are electrostatic protection measures taken
Are product identification markings visible
Are sumps drained as required
Are hoses, couplings, and nozzles serviceable and properly maintained
Are fire extinguishers serviceable & of correct rating / size
Fuel Servicing Equipment, Refueling & Defueling: | 7.8, 7.8.2.1, 7.8.2.2, 7.8.3.2, 7.8.4 & 7.8.5.1 | NFPA 407, ATA103, MIL-STD-1518, MIL-STD-1548, ATP 4-43, TO 42B-1-1, NAVAIR 00-80T-109
Is all fuel servicing equipment serviceable (e.g., hoses, nozzles, gauges, deadman control, safety interlocks)
Are electrostatic protection measures taken (e.g., bonding / grounding)
Are sumps drained as required
Are fire extinguishers serviceable & of correct rating / size
Is fueling pressure compatible with aircraft
Does aviation fuel pass through two separate filter-separator vessels downstream of bulk storage | 7.8, 7.8.2.1, 7.8.2.2, 7.8.3.2, 7.8.4 & 7.8.5.1
Are filters the correct type and maintained properly
Prior to refueling / defueling, is type of fuel determined
Fuel Quality: | 7.8, 7.8.2.1, 7.8.2.2, 7.8.3.2, 7.8.4 & 7.8.5.3 | ATA103, MIL-STD-1518, MIL-STD-1548, ATP 4-43, TO 42B-1-1, NAVAIR 00-80T-109
Is a documented fuel quality program in place and does is address:
- Source of fuel supply
- Fuel receipt and storage
- Fuel sampling and testing
- Fuel servicing
- Calibration of measuring and test equipment
- Maintenance of fuel related equipment and facilities
- Records and corrective actions
Is fuel sampling and testing accomplished as required and are they performed IAW contractual requirements and / or consensus standards
If required (ref: MIL-STD-1518), are fuel samples sent to a U.S.G. lab at the required frequency and results provided to a U.S.G. representative
Use the following section, as applicable, based on site and contract specific circumstances. Specific site operations, conditions, and circumstances will determine how extensively the remaining items will be applied. Consider how and if this process exposes contract aircraft to risk (see para 7.10, Supporting Programs / Processes). This is not an all-inclusive list. If circumstances warrant a more intensive / detailed review, see applicable guidance for a more complete listing of requirements.
Aircraft Fuel Systems Purging & Maintenance: | 5.2, 5.14, 5.18.2, 5.18.3, & 7.10 | NAS 3306, NFPA 410, Service guidance (e.g., TO 1-1-3, NAV AIR 01-1A-35)
Where does the contractor perform fuel system purging / maintenance (e.g., inside a hangar or outside)
Is area set up, separated (at least cordoned off) and account for safety requirements (e.g., electrical classification, ventilation, fire safety, appropriate clear spaces)? Reference to Confined Space process and Aircraft Hangaring requirements may be necessary for a complete evaluation of this topic.
Are appropriate procedures in place that require the use of technical data and address operations to prevent damage to the aircraft (e.g., LEL limits, use of proper equipment / tools, facility requirements, grounding / bonding, chemical usage)
Is LEL monitored and proper meter (PID) used
Are fire extinguishers available, serviceable, and of correct rating / size

## SG-Facilities
SG - Facilities
Process Questions & Clarification (in blue italics) | 8210-1D | NAS 3306 Rev 4 | Comments, Questions, Findings
Exception for "Short-Duration / Limited-Scope Operations: | 9.7
Do contractual operations fall under short-duration/limited-scope exemption? If so, the remainder of this section is Not Applicable.
Contractor’s Infrastructure Evaluation: Airfield/heliport and hangar/facility capabilities. See para 7.6.2 for GOCO facilities. | 7.2 | 1.6
Has the contractor completed the airfield/heliport and hangars/facilities portion of their self-evaluation and does it cover all required topics
Does it state whether or not requirements are met and, if any, identify conditions failing to meet requirements? Does it identify specific construction, fire protection capabilities, and fuel status of aircraft in hangars? | 7.2.1
Has the contractor provided corrective action plans, proposed alternative compliance strategies, and/or mitigation plans if/where needed | 7.2.2
Is the report current, to include any required updates, and has it been provided to the GFR and attached to the contractor's Procedures | 7.2.3
For operations on U.S. Service controlled BPCS, has the contractor completed the statement of capabilities addressing the required areas and provided it to the GFR? NOTE Exception for CLS operations | 7.2.4
Are alternative compliance strategies and/or mitigation plans (if any) accepted/rejected in writing AND by the appropriate level (e.g. GFR, Wavier Authority, Program Office, as applicable) | 10.18.1 - 10.18.4
Facility Requirements at U.S. Service-Controlled Base, Post, Camp, or Station Locations | 7.3
Are all conditions met (7.3.1 - 7.3.3)? If so, the remainder of this section is Not Applicable. If all conditions are not met, continue with guide. | 7.3.1 - 7.3.3
Government Owned Contractor Operated (GOCO) Facilities: Contractors located at U.S. GOCO facilities are exempt from paragraph 7.6.1; however, they must assess facilities based on the requirements of paragraph 7.6.1 when completing the contractor’s evaluation (see paragraph 7.2). | 7.6.2 & 10.18.4
Has contractor completed their evaluation; were any shortfalls identified
If any shortfalls were identified, have those been provided to the GFR and has the GFR forwarded the information to the applicable parties
Documentation: | 7.4 | Multiple
Does the contractor have all the required risk analysis, technical / compliance documentation, and plans / procedures required by NAS 3306? See NAS 3306 Job Aid)
Waivers: | Section 2 & 7.6.1 | 1.5.3
Are any waivers in place for Aircraft Facilities? If applicable, are they appropriate for the circumstances and cover all non-compliant issues?
Are existing waivers current and circumstances still accurate
Are all conditions / restrictions / requirements of the waiver met and are they audited by the APT to include any required mitigation actions | Section 2 & 7.6.1 | 1.5.3
Are approved waivers attached to the contractor's Procedures and has the contractor and GFR (APT) reviewed all existing waivers at least annually
Hangaring of Aircraft: This section is to verify adequate procedures are in place for hangaring aircraft. Typically, procedures would not be to simply "tow the aircraft in the hangar per towing procedures". Look for procedures to address local circumstances and special requirements. Additional reference source could include NFPAs such as 33 & 410. | 5.18 & 7.6 | 6.4, 6.5 & subs
Do procedures mitigate risks and address location specific requirements to include at least (but not limited to) the following:
- Aircraft fuel status (e.g., fueled, defueled, unfueled)
- Methods to ensure aircraft meets & maintains required LEL levels
- Purging requirements if fuel cell maintenance is to be performed
- Special hangaring considerations (e.g., fixed and mobile fire suppression system status, work stand positioning, ongoing hazardous operations)
If contractor hangars “defueled” aircraft in hangars that are designed and protected for “unfueled” aircraft, are all requirements met and procedures approved by GFR | 5.18 & 7.6.1 | 6.5.1 & subs
Aircraft Production Facilities: Auditor must understand specific contractual requirements and what standards are applicable in order to properly assess this area. | 7.6.1 | 6.2 & subs
Do aircraft production facilities meet applicable requirements for:
- Construction
- Fire Protection
- Fire Detection
- Are protection systems maintained, tested/inspected, records available
Aircraft Hangar Construction and Fire Protection: Fuel status of aircraft (typically) and applicable standards determine construction feature requirements. Some examples are (not an all-inclusive list): Type construction (fire resistance ratings); internal separations (fire walls, fire doors); clear space distances; hangar doors (to include specific power requirements); drainage systems (aprons and hangar); HVAC systems; lighting and electrical; grounding; exits; draft curtains; etc. Auditor must understand specific contractual requirements along with type of work, fuel status of aircraft and what standards are applicable in order to properly assess this area. | 7.6.1 | 6.3 & subs
Do hangars meet construction requirements of NAS 3306 (or other approved/accepted, contractually, and/or legally mandated standards)
Are fire protection systems designed for type work being performed and fuel status of aircraft and do they meet requirements of NAS 3306 (or other approved/accepted, contractually, and/or legally mandated standards)? Other considerations depending on requirements (not an all-inclusive list): Supplementary foam systems (under wing); foam concentrate supply (including reserve supply); sprinkler head ratings; hand hose systems; water supply; etc. | 7.6.1 | 6.3 & subs
Are fire protection systems maintained, tested/inspected and records available? Be sure to evaluate based on NFPA 409 specific requirements in addition to other applicable guidance such as NFPAs 4, 11, 16, 25, 70, 72, & 80 (not an all inclusive list). | 7.6.1 | 6.5.3
Do fire detection, alarm, and activation systems meet requirements | 7.6.1 | 6.3.2.6
- Does activation of a system and/or pull station transmit to a constantly attended location resulting in immediate notification of firefighting services
- Are detection, alarm, and activation systems maintained, tested/ inspected and records kept and available
Are small aircraft stored in a close/tight configuration | 7.6.1 | 6.3.2.9
- Has a competent person performed a risk analysis on the impact to the fire protection/detection systems of the placement of aircraft within the hangar and the need for supplementary (underwing) fire protect
- Has the risk analysis been provided to the GFR
- Do hangaring procedures ensure fire protection systems remain effective
Do special purpose hangars/facilities meet applicable requirements and has GFR and/or waiver authority (as appropriate) found them adequate | 7.6.1 | 6.4
Are defueled aircraft placed in hangars or special purpose facilities constructed and protected for unfueled aircraft | 7.6.1 | 6.5.1 & subs
- Are procedures in place to ensure fuel has been removed to the maximum extent possible prior to placing the aircraft in the hangar
- Do procedures address all requirements contained in NAS 3306
- Has GFR approved the procedures
Does contractor modify electrical classification of areas around the aircraft; if so, do they have the appropriate risk analysis and procedures in place | 7.6.1 | 6.5.2 & subs
Are fire doors and other openings in rated walls maintained tested/inspected and records available | 7.6.1 | 6.5.4
Are wheeled and portable fire extinguishers provided and properly placed | 7.6.1 | 6.5.5
- Is extinguishing agent appropriate for use in/around aircraft
- Are extinguishers properly placed and maintained
- Are designated personnel trained on extinguisher use
Are applicable aisles and clear spaces clear of obstructions | 7.6.1 | 6.5.8
Whenever hangar fire protection systems are impaired, does contractor: | 7.6.1 | 6.5.9
- Immediately notify the GFR
- Develop and implement appropriate action plans
- Submit long term action plans (time periods that exceed 90 days of system impairment) to the Service Waiver Authority | 7.6.1 | 6.5.9
Aircraft Cleaning, Painting, and Stripping: This area will be site specific and, most likely, facility/building specific. Possible references include (not a complete listing): NFPAs 33, 409, & 410, and T.O. 1-1-8. | 7.6.1 & 7.9 | Chpt 6 various paragraphs depending on specific facility and use
Do procedures address facility and operational safety considerations (e.g., electrical safety, fire safety, ventilation, use of proper equip) | 7.9
Has the contractor designated areas for limited paint operations (e.g., touch-up painting) in areas other than special purpose facilities (e.g., paint hangars/booths)? If so, do procedures exist for the process and do they outline protocols, limitations, and locations utilized for painting?
Are facilities used for these purposes appropriate and properly equipped to include electrical equipment ratings | 7.6.1 & 7.9
Are grounding and other electrostatic safe guards followed
Are ventilation systems installed, equipped with warning/monitoring systems and interlocked with spray systems (as applicable)
Do mixing rooms have a means for spill containment
Are mixing rooms separated by appropriate fire walls
Unmanned Aircraft (UA) Group 1-3: | 7.6.1
Has a competent person established feasible fire plans appropriate for the vehicles / systems, facilities, and type operations being conducted |  | 6.6.1
- Does it account for site-specific conditions & operations (e.g., number & concentration of vehicles/systems, type operations, flammable quantities & density, facility conditions, installed fire protection, fire dept response) |  | 6.6.1.1
- Are plans based on a thorough risk analysis that result in a fire protection strategy that adequately protects the vehicles/systems
- Is the plan approved by the GFR/GGFR |  | 6.6.1.2
Where provided, are fire protection/alarm systems properly maintained |  | 6.6.1.4
Are flammable/combustible liquids stored in a single control area/fire area below the NFPA 30 limits? Include fuel in the UAs, stored fuel, industrial supplied, and any other flammable/combustibles in the area. |  | 6.6.2
Has a competent person evaluated unusual and/or hazardous operations (e.g., engine operation, fueling/defueling operations, storage of fuel, fuel system maintenance, hot work, vehicle painting/coating operations) for appropriate protection methods |  | 6.6.3
- Has a list and evaluation of all unusual and/or hazardous operations been provided to the GFR/GGFR
Where deemed necessary, have the appropriate fire protection, separation, or other special construction and/or protection methods been put in place
Grounding/Bonding Points: Possible references: NFPAs 407, 409, & 410; MIL-HDBK-274A; Service Guidance. | 5.11.3
Are aircraft static ground points properly installed, tested and maintained, and records kept | 5.11.3
Is grounding/bonding equipment (cables, wires, clips, etc.) in good condition and of proper type/rating
OCONUS FMS Aircraft; Contractor Responsible for Facilities: Note, the contractor may only provide portions of this or one of the elements. Only the portions / elements the contractor is responsible to provide would fall under this guidance. See para 7.7.1.2 and 9.4.2 for other situations. | 7.7.1 & 9.4.2
Does the contractor use host nation standards, NAS 3306, or some other contractual requirement | 7.7.1.1
Has the contractor provided a statement of capabilities to the GFR and is it attached to the Procedures
Does the contractor have procedures in place based on the guidance used (e.g., NAS 3306, host nation standards) and / or statement of capabilities
OCONUS FMS Aircraft; All or part of Facilities provided by the host nation: Note, the host nation may only provide portions of this or one of the elements. Only the portions / elements the host nation is responsible to provide would fall under this guidance. The portion / elements the contractor is responsible for providing would be addressed under requirements in 7.7.1.1. | 7.7.1.2 & 9.4.2
Do procedures state what services are provided by the host nation and how the contractor obtains those services | 9.4.2
OCONUS U.S. Govt Aircraft; Contractor Responsible for Facilities: | 7.7.2.1
What standard is used, NAS 3306 or host nation standards
If NAS 3306, are all requirements met (all applicable elements of this guide)
If host nation standards are used
- Have shortfalls been identified and corrected
- If not, has a waiver been approved
- Does the contractor have procedures in place based on the guidance used (NAS 3306, host nation standards)
OCONUS U.S. Government Aircraft; All or part of Facilities provided by the host nation: Note, the host nation may only provide portions of this or one of the elements. Only the portions / elements the host nation is responsible to provide would fall under this guidance. The portion / elements the contractor is responsible for providing would be addressed under requirements in 7.7.2.1. | 7.7.2.2
Has contractor completed self-evaluation; does it identify shortfalls (if any)
Has GFR coordinated with SWA for guidance for all identified shortfalls
Do procedures state what services are provided by the host nation and how the contractor obtains those services

## SH - Supporting Programs
SH - Supporting Programs
These processes may be addressed via other quality or industrial procedures (e.g., Occupational Health and Safety Administration, building codes, fire codes, quality standards). While these procedures are not included in the GFR approved Procedures, the GFR has the authority to address circumstances that affect the safety of Government assets when those operations are performed close enough to the aircraft to pose immediate risk (see 8210-1D, para 3.7.5). In such cases, the risk mitigation procedures used to protect the aircraft must be included in the GFR approved Procedures. Examples of supporting programs/processes that may present risk to aircraft include: LASERs (class III or IV), handling of hazardous materials (including explosives), battery charging, and hot work. (8210-1D, para 7.10)
Only evaluate these area as they pose risk to the aircraft and/or as contractually applicable. This is not to say ignore issues or safety concerns. If issues are found that do not present risk to the aircraft, then take appropriate action to address the issue (potentially notifying the responsible agency or office). Discuss with the AOI Team Lead and local APT to determine appropriate course of action for any concerns.
Process Questions & Clarification (in blue italics) | 8210-1D | Other | Comments, Questions, Findings
HAZMAT (Storage/Use/Disposal): Use is typically a quality oversight function (e.g., expiration dates, correct material). Storage and disposal of hazardous material may pose a risk to the aircraft if incorrectly stored, too much is stored in an area, or if waste is incorrectly accumulated or mixed. EPA, OSHA, and local authorities (such as the AHJ) should be involved in oversight of these areas and may need to be involved to correct concerns that exist outside risk to the aircraft. Possible references: NFPAs 30 & 33; 29 CFR 1910, Subpart H. | 7.10
Are hazardous materials stored in the same fire area and/or near Govt aircraft? If so, are procedures in place to reduce risk to the aircraft and address:
- Maximum allowable quantity of combustible and/or flammable liquids allowed in a single fire area
- Handling and storage requirements
- Proper labeling/identification
- Emergency procedures (e.g., spill plans, fire plans, SDSs available)
Are compressed gasses stored/used near or around Govt aircraft? If so, are procedures in place to reduce risk to the aircraft and address: | 7.10
- Handling and storage requirements
- Proper labeling/identification
Ammunition and Explosives (AE) Storage/Handling: Priority is to ensure the proper clauses are included in the contract when Govt AE is involved. Once the correct clauses are on contract, apply the appropriate requirements (e.g., DoD Man 4145.26) to this area. This may be separate from GFR procedures but is still a concern for the APT. From an AOI perspective, priority is managing risk to the aircraft. CS has additional responsibility to fully enforce and ensure compliance with all applicable contractual requirements related to Govt AE. | 5.17 & 7.10
Does the contractor store/handle Govt AE items? If yes:
- Are the proper clauses on contract (DFARS 252.223-7002 & 7003)
- If the clause(s) are not on contract, has the ACO/PCO been notified and, possibly, a contract deficiency been identified and submitted
Are procedures in place to address managing risk posed to Govt aircraft and, at a minimum, include: | 5.17 & 7.10
- Use of technical data
- Use, storage, handling and transportation
- Compliance with DoD Man 4145.26 (as applicable)
Does the contractor have an explosives site plan (ESP):
- Has it been properly reviewed
- Is it accurate and current
- Does it identify location, amount, & hazard classification of AE on site
Does the contractor have a documented hazard analysis for AE operations
- Does it include ESD sensitivity for type explosives
- Does it include in-process hazard associated with handling AE items
Does the fire department know the location of AE items & their characteristics
Are all personnel handling explosives trained and current
If facilities have lightning protection, is it inspected/tested & records maintained
Are AE grounds clearly marked and inspected/tested & records maintained
Laser (when required): Only audit this relative to risk posed to Govt aircraft | 7.1
Is a Laser Safety program in place
Is a qualified Laser Safety Officer appointed
Does contractor know type/class & location of lasers in use
Are proper signs, controlled area, interlocks, other precautions used
Is training program in place and documented
Confined Space Procedures (when required): Only audit this relative to risk posed to Govt aircraft | 7.1
Are procedures (in the GOP or referenced) adequate to protect Govt aircraft (e.g., <%20 LEL for hangar entry; <10% LEL for personnel entry; <5% for non-explosion proof equipment use)
Do procedures direct for proper area set up in / around aircraft
Are atmospheric tests performed/document as required:
- With calibrated, direct-reading, PID type instrument
- For oxygen content, flammable gases and vapors, and potential toxic air contaminants, in that order | 7.1
Is intrinsically safe equipment used when required
Are grounding/bonding procedures in place; to include powered/non-powered support equipment/air ducts/etc.
Is there a training program in place, current and documented
Other Processes: Are any other processes performed in/on/around Govt aircraft that may pose a risk to the aircraft (e.g., battery charging, hot work, vehicle movement, non-Govt aircraft work)? If so, evaluate as appropriate for risk to aircraft. Coordinate with AOI Team Lead to address issues/concerns. | 7.1

## CA-Designations & Appointments
CA - APT Designations & Appointments
Process Questions & Clarification (in blue italics) | 8210-1D | 8210-2 | 2301-07 | Comments, Questions, Findings
Questions in this tab will overlap Command Admin section CA and must be discussed with the AOI Team Lead. Where & how discrepancies/observations are addressed will be situation specific. Some issues may need to be addressed outside the AOI process via Contract Safety leadership. Pre-coordination with the assigned CSM and CSM's supervisor is recommended.
Is CSM aircraft certified and is all required training completed (e.g., CMA-2410, AO-401, AO401B, CS certifications, certification maintenance training (e.g., AO501/CSAF245)? Refer to the CS Manual and Guidebook for specific certification and certification maintenance training requirements. |  | 4.6.1.1, 4.6.1.2, 4.6.2 | 5.1.b & 12.7.c.(3)
Did the CSM attend AOSS (evidence can include LMS, Certificates, MFR, etc.)? When circumstances prevent attendance, required personnel must make up the training by reviewing the AOSS briefing slides or other content within 30 days of the event or their return to duty. APT members who miss AOSS and fail to complete the make-up training within 30 days must not perform further APT duties until they have done so. |  | 8.5.1 | 5.6
Is the CSM assigned to the APT by appointment letter |  | 2.4.4, 5.1.1, 5.1.3 | 5.1.a

## CB-CMO CC Responsibilities
CB - CMO CC Responsibilities
Process Questions & Clarification (in blue italics) | 8210-1D | 8210-2 | 2301-07 | Comments, Questions, Findings
Does the CSM attend the Quarterly Safety Council meetings? The 8210-1 does not explicitly require the attendance of the CSM. Documenting an observation in the AOI report is appropriate if the CSM is not regularly attending safety meetings. "Members generally include...GFR (other APT members may also be invited)". | 6.3.2, 6.3.2.4.11 | 8.7.2 | 5.7

## CE-Procedures Approval Process
CE - Procedures Approval Process
Process Questions & Clarification (in blue italics) | 8210-1D | 8210-2 | 2301-07 | Comments, Questions, Findings
Questions in this tab will overlap Command Admin section CE and must be discussed with the AOI Team Lead. Where & how discrepancies/observations are addressed will be situation specific. Some issues may need to be addressed outside the AOI process via Contract Safety leadership. Pre-coordination with the assigned CSM and CSM's supervisor is recommended.
Is the CSM involved in the GOP review process, as well as other areas included in Para 10.10.2 ? Has the CSM reviewed contractor Procedures and provided input to the GFR? GFRs should not hesitate to seek advice on matters of safety (ground / explosive) or quality assurance (QA) from functional specialists. As team leader, the GFR should coordinate survey findings and observations regarding procedures, and conditions with the quality assurance specialist (QAS) QAR, maintenance personnel, and the rest of the APT. | 10.10.1, 10.10.2 | 2.5.2 & 5.2 | 5.1
Does the CSM receive, review, and provide comments on the contractors ARFF, Facilities, and Fire Protection evaluation | 7.2 & subs | 5.10.3 | 5.1
Does the CSM participate in the review of and provide comments / recommendations to safety related waiver requests, when appropriate |  | 3.2.5.1 & 3.2.5.2 | 5.5.c

## CF-Surveillance
CF - Surveillance
Process Questions & Clarification (in blue italics) | 8210-1D | 8210-2 | 2301-07 | Comments, Questions, Findings
In addition to the guidance and process questions below, the following manuals and guidebooks must be used to complete a comprehensive evaluation of APT surveillance responsibilities. |  |  |  | Guidebook findings can only be classified as Observations. Discrepancies are based on requirements outlined in related manuals.
DCMA Manual 2303-01, Volume 1 Surveillance
DCMA Manual 2303-01, Volume 2 Surveillance: Aircraft Operations
DCMA Manual 2303-01, Volume 8 Surveillance: Contract Safety
Aircraft Operations PDREP Surveillance Plan Data Entry Guidebook
Contract Safety PDREP Surveillance Plan Data Entry Job Aid
DCMA Manual 2303-05 Addressing Contractor Noncompliances and Corrective Action Requests
Aircraft Operations PDREP Corrective Action Request (CAR) Data Entry
Questions in this tab will overlap Command Admin section CF and must be discussed with the AOI Team Lead. Where & how discrepancies/observations are addressed will be situation specific. Some issues may need to be addressed outside the AOI process via Contract Safety leadership. Pre-coordination with the assigned CSM and CSM's supervisor is recommended.
Are all team members informed and working as a unified team to ensure comprehensive contractor oversight (does CSM participate in APT meetings and coordinate visits with the APT)? See DCMA MAN 2301-07, Section 5, and CS Consolidated Guidebook for CS support of AO and certification requirements | 10.10.1 | 4.5.3.2, 4.5.3.3 & 4.5.6 & subs | 5.1
Does effective teaming exist between APT and contractor? Myriad of 8210-1 & -2 references speak to the need for effective communication & cooperation between USG & KTR to ensure safe and effective Ops. The APT should maintain a close liaison with the other CAS and contractor organization functional offices. Documenting an “Observation" in the AOI report is appropriate if lack of effective teaming is evident. | 10.10.2 | 4.5.3.2 & 4.5.6 & subs | 5.1 & 5.2
Does the CSM take the lead role in ground safety, monitoring the contractor’s safety program and adherence to applicable contractual requirements, and provide technical expertise to the APT? Does the CSM know status of facilities, operations, equipment, training / certification, and Procedures. General question / observation, how engaged is the CSM? |  | 4.5.6 & subs | 5.1
Has CSM coordinated with the GFR and completed the CSM portion of the APT surveillance plan? This includes all applicable methods (e.g., PDREP, Excel Spreadsheet). Does the CSMs surveillance plan match the RBS? Do number of visits meet at least minimum required based on risk rating? |  | 5.6 | 5.2.a, b & d
Is surveillance data collected, documented and analyzed for trends. Is the CSM executing to their surveillance plan? If not, are changes documented? Is the surveillance plan updated accordingly? |  | 4.5.3.6 & 5.6 | 5.1
Does the CSM participate in annual/semi-annual Contractor Surveys with the APT to the maximum extent practical |  | 5.3 & subs | 5.2.c
Does the CSM use the applicable DCMA system of records (e.g., PDREP, DART) to document surveillance |  | 4.5.3.6 | 5.1
Does the CSM issue and follow up on CARs (when necessary) |  | 4.5.3.6 | 5.1
Does the CSM participate in the CAP process for safety issues |  | 10.2.6, 10.2.6.4 & 10.3.4 | 5.4.b
Does the CSM participate in the CRR process for all site contracts |  | 5.4 | 5.1

## Summary of Changes
Date (most recent first) | Identify the applicable section in the guide and summarized the change(s)
2026-01-07 | Version 26.0. Revised to reflect updates to DCMA Manual 8210-2 and the issuance of DCMA Manual 2303-01 (Volumes 1, 2 (AO), and 8 (Safety)) and DCMA Manual 2303-05 ("CARs"). Applicable hyperlinks and document titles have been updated. The Introduction tab has been revised and includes a link to online hazard reporting.
2024-07-30 | Version 24.2. SH-Supporting Programs, updated row 10 with example emergency procedures; deleted previous rows 11 and 15. CA-Designations, updated row 4 for CSM certification training to refer to CS Manual and Guidebook. CF-Surveillance, row 8, removed reference to 'SPG" (rescinded).
2024-03-27 | Version 24.1. Updated to reflect applicable 8210-2 changes and made other minor admin changes. Replaced references to AOTS with AOSS. Adjusted SF to read Fuel "Process" versus Fuel "Processes"
2025-11-05 | Version 26.0. Added direction in SA and clarification in SC and SG concerning the Infrastructure Evaluation. Added contract safety links in CF tab. Updated 8210-2 references to most current version. Minor administrative changes.